## Slide 1: Learning Python for Image Segmentation By Paul McCabe
Of note: some slides have GIFs in them that only display in Slide Show mode

## Slide 2: Presentation Structure
Give some background of myself
Describe the process and results of my lung segmentation approach
Outline future plans for improved accuracy

## Slide 3: My Background

## Slide 4: My Background
Academic Background
Rising Junior (undergraduate)
Major: Electrical Engineering & Philosophy
Personal Background
Hometown: Honolulu Hawaii
Interned at Subaru Telescope last summer
Currently developing my knowledge of machine learning and Biomedical Engineering.

## Slide 5: Image Segmentation

## Slide 6: Separate Lungs
Original
2. Threshold using KMeans
3. Erode + Dilate
4. Label regions
5. Final Mask
6. Applied Mask

## Slide 7: Separate Lungs
DICOM Processing and Segmentation in Python
Howard Chen, Radiology Data Quest (raddq.com)

## Slide 8: Region Grow Airway
Simple Region Growing of Airway
Growing Size: 6 voxels
Seed point is calculated automatically using median position of dark area.

## Slide 9: Region Grow Airway
Simple Region Growing of Airway
Slice Number
Pixel Count
Leak Alert!

## Slide 10: Region Grow Airway
Robust Region Growing Based Intrathoracic Airway Tree Segmentation
Rˆomulo Pinho, Sten Luyckx, and Jan Sijbers
University of Antwerp, Physics Department, VisionLab, Belgium

## Slide 11: Region Grow Airway
Large Voxel Region Grower
Growing Size: 26 voxels
Voxel will grow depending on how many light pixels are found in it.
If there are 3 or more light pixels in the large voxel, it will stop growing and move to another large voxel to check.

## Slide 12: Region Grow Airway
Slice Number
Pixel Count
Large Voxel Region Grower

## Slide 13: Quality Inspection
Region-Growing Area (White)

## Slide 14: 3D Modeling
Meshlab Mayavi with Gaussian smoothing filter
Surrounding lung structure
Patient 1
Patient 2
Patient 3

## Slide 15: Segment Bronchioles
Lung
Edges Eroded
Simple Region Grow
Pixel Count
1 simple region growing algorithms for each lung
Find seed point automatically using median position of light area
If seed point lands on a dark area, retry with different lightness parameters until successful

## Slide 16: Meshlab Mayavi Modeling
Patient 1
Patient 2
Patient 3

## Slide 17: Segment Region of Interest
Input slice number and 2 coordinates to form box (shown in red) of patient 1

## Slide 18: Segment Region of Interest
Input slice number and 2 coordinates to form box (shown in red)

## Slide 19: Segment Region of Interest
Input slice number and 2 coordinates to form box (shown in red)

## Slide 20: Segment Region of Interest
Current Problem
Input slice number and 2 coordinates to form box (shown in red)
When segmenting the lungs, an object that touches the walls of the lung may affect the dilation of the lung mask

## Slide 21: Segment Region of Interest
Threshold of ROI

## Slide 22: Segment Region of Interest
Threshold of ROI
Calibrating large region growing algorithm
Region Grow

## Slide 23: Segment Region of Interest
Threshold of ROI
Region Grow
Modeled with Lungs

## Slide 24: Future Strategy

## Slide 25: Future Steps
Improve quality of region growing algorithm. (Use Hounsfield units)
Properly separate objects that are close to the walls of the lung. Rolling ball algorithm or others
Begin machine vision approach for automatically defining regions of interest

## Slide 26: Image Sources and Citations
Clark K, Vendt B, Smith K, et al. The Cancer Imaging Archive (TCIA): Maintaining and Operating a Public Information Repository. Journal of Digital Imaging. 2013; 26(6): 1045-1057. doi: 10.1007/s10278-013-9622-7.
Chen Howard, Radiology Data Quest, https://www.raddq.com/dicom-processing-segmentation-visualization-in-python/
Ramadan, Zayed M. “Optimum Image Filters for Various Types of Noise.” Telkomnika, vol. 16, no. 5, Oct. 2018, pp. 2458–2464. EBSCOhost, doi:10.12928/TELKOMNIKA.v16i5.10508.
Rˆomulo Pinho, Sten Luyckx, and Jan Sijbers, Robust Region Growing Based Intrathoracic Airway Tree Segmentation, University of Antwerp, Physics Department, VisionLab, Belgium
https://en.wikipedia.org/wiki/Microelectromechanical_systems
https://case.edu/emails/engineering/SDLE_Grand_Opening.html
https://www.bandsintown.com/e/17356503-time-cat-at-wruw-fm-91.1

## Slide 27: Thank you for your time

## Slide 28: Extra slides

## Slide 29: My Background
Coding Background
Recently revisited Java for a personal project: Pixelated Impressionism

## Slide 31: Airway Segmentation
Pixel count for each slice
Graph indicates number of pixels counted for each slice
Observe leaks before 3D plotting

## Slide 32: Image Processing: Filtering Images
Original
Pointwise Transformation
Median Filter
Optimum Image Filters for Various Types of Noise.” Telkomnika, vol. 16, no. 5, Oct. 2018
Gaussian Noise
Speckle Noise
Salt and Pepper Noise
Poisson Noise

## Slide 33: Image Processing: Process DICOM Files
Histogram
3D-Plot
The Cancer Imaging Archive (TCIA)